## Sheet1
Frequency (kHz) | 250
Start time | 0
End Time | 2
Window Size (s) | 0.5
PDC | 5
PDC Type | 1
Voltage | 200
Lowpass (kHz) | 10
max clusters | 10
Interlevel Ratio Threshold | 3
Threshold Type | 1
Level PDC | 3
FWHM Transition Duration (micro sec) | 66
E2E Transition Duration (micro sec) | 99
Smoothening Facotr | 1
Over Clusters | 2
Translocation Time UB (sec) | 1
Trasnlocation Time LB (micro sec) | 10
Event Pad | 50
Ppulation Factor | 0.995
Back Step Threshold | 0.999
Max Iterations | 10
BNB Selection | 1
Analysis Depth | 1